## v1 (what it cost)
STM v1: what it actually cost
From v1's receipts and invoices, June to September 2026, in US dollars.
Item | Qty | Cost | Note
Circuit boards (JLCPCB, July)
Main controller boards, assembled | 2 | 419.27
Preamp boards, assembled | 2 | 60.34
Blank controller boards | 3 | 5.04
Blank preamp boards | 3 | 2.4
Discount |  | -20
Shipping |  | 50.3
Import tariff |  | 163.48
Tax |  | 29.2
Subtotal |  | 710.03
Adjustment screws (Thorlabs, June)
Adjustment screws (FAS200, 2 in long: longer than the design needs) | 3 | 26.34
Shipping |  | 15.26
Tax |  | 1.65
Subtotal |  | 43.25
Electronic parts (DigiKey, three orders)
Op-amp for U21 (LT1469) | 2 | 32.7
DB9 connectors | 4 | 3.04
Standoffs, wrong size (did not fit) | 2 | 5.62
Standoffs, right size | 2 | 4.18
Shipping |  | 25.47
Import tariff |  | 4.67
Tax |  | 3.14
Subtotal |  | 78.82
Amazon (tools, wire, connectors, supplies), 42 purchases grouped
Screws, nuts and threaded rod |  | 45.09 | 4 purchases
Wire and cables |  | 57.38 | 6 purchases
Connectors and chip sockets |  | 33.97 | 3 purchases
Solder, flux and heat-shrink |  | 36.96 | 4 purchases
Copper and aluminium tape |  | 14.98 | 2 purchases
Magnets |  | 18.48 | 2 purchases
Springs (v1 suspension) |  | 34.97 | 2 purchases
Standoffs and heat-set inserts |  | 19.98 | 2 purchases
3D printer plastic |  | 27.99
Microcontroller (Teensy 4.1) |  | 43.22
Bench power supply |  | 42.74
Oscilloscope |  | 57.99
Motor (original small stepper) |  | 7.99
Piezo discs (v1 scanner) |  | 5
Tip wire (tungsten) |  | 8.19
Gold leaf (v1 sample) |  | 10.09
Aluminium disc |  | 19.79
Prototype board kit |  | 18.99
Tweezers, wrist strap, applicators and wipes |  | 19.16 | 4 purchases
Other small items (receipts unreadable) |  | 20.87 | 3 purchases
Subtotal |  | 543.83
v1 TOTAL |  | 1375.93

## v2 budget
STM v2 at UCSD: budget
What this is: a scanning tunneling microscope (STM) images individual atoms by holding a sharp metal tip a few atoms above a sample and measuring the tiny electric current that flows across the gap. This sheet lists everything needed to build a second one (v2) at UCSD. Prices checked 21 October 2026, in US dollars. Sections 1 to 7 are the parts we must buy for a complete, working microscope, which runs entirely on batteries (section 7). Section 8 is an optional upgrade to a piezo tube scanner, switched on or off with one Yes/No choice. Section 9 lists items UCSD labs may already have; marking one Yes takes it off the total.
Summary
Total request as currently set (upgrade switch and section 9 choices) |  | 3000.375
Without the piezo upgrade, UCSD supplies nothing |  | 2327.27
Without the piezo upgrade, UCSD supplies everything in section 9 |  | 1317.13
With the piezo upgrade, UCSD supplies nothing |  | 3000.375
With the piezo upgrade, UCSD supplies everything in section 9 |  | 1942.825
What v1 actually cost, for comparison |  | 1375.93
Item | What it does | New in v2? Why | Vendor | Part number | Qty | Price each | Total | Link
1. Scanner (moves the tip over the sample)
Piezo disc | A thin ceramic disc that flexes very slightly when voltage is applied. It moves the tip across the sample and up and down, in steps smaller than an atom. The main board drives it directly, so it needs no extra electronics. A pack of 30, because discs are easily damaged by soldering heat. | Same as v1. Price is what v1 paid. | Amazon | JESSINIE 18 mm piezo discs, 30 pcs | 1 | 5 | 5 | Open
Subtotal | [6 empty] | 5
2. Coarse approach (brings the sample close to the tip)
Motor | A motor that turns in small, precise steps. It slowly turns one adjustment screw to bring the sample up to the tip, then the piezo takes over. Joined to the screw by a 3D-printed coupler and powered by AA batteries (section 7). | New. Replaces v1's small toy-grade motor. Finer steps lower the risk of crashing the tip into the sample. | Adafruit | 324 (standard NEMA-17 size) | 1 | 14 | 14 | Open
Motor controller | A small board that lets the microcontroller (section 3) move the motor in tiny fractions of a step. | New. Needed to run the new motor. | Adafruit | 6121 | 1 | 8.95 | 8.95 | Open
Adjustment screws | Very fine-thread screws, 1.25 in long, that hold and level the sample plate. One full turn moves only 0.3 mm. The motor turns one of them, and the other two are set by hand. | Changed length. v1 bought 2 in screws, which were too long for the design: the extra length made the head taller and less steady. 1.25 in fits the design with the metal inserts below. | Thorlabs | FAS125 | 3 | 8 | 24 | Open
Threaded metal inserts | Metal inserts set into the printed frame, so the screws turn in metal threads rather than plastic. | New. In v1 the screws turned in printed plastic, which wears and loosens. | Thorlabs | F25SSN1 | 3 | 8.6 | 25.8 | Open
Subtotal | [6 empty] | 72.75
3. Control electronics (runs the microscope)
Main circuit boards | The main board makes the scan signals and reads the tip current. The factory solders most parts on. 2 boards: one to use and one spare. | Same as v1. Same design, priced at what v1 paid in July 2026. | JLCPCB | custom (v1 design) | 2 | 209.64 | 419.28 | Open
Spare bare main boards | The factory makes at least 5 boards. 2 come assembled (above), and these 3 come bare at a small extra cost. | Same as v1. | JLCPCB | custom | 3 | 1.68 | 5.04 | Open
Amplifier chip for the main board | One chip the factory could not supply, so we buy it and solder it on ourselves. 1 plus 1 spare. | Same as v1. | DigiKey | LT1469 | 2 | 18.26 | 36.52 | Open
Microcontroller | A small computer board that runs the microscope and talks to the laptop. Powered by the laptop's USB cable, so it needs no battery. | Same as v1. | SparkFun | Teensy 4.1 | 1 | 31.5 | 31.5 | Open
Subtotal | [6 empty] | 492.34
4. Preamp (amplifies the tiny tip current)
Preamp circuit boards | The current between tip and sample is about a billionth of an amp. This board turns it into a voltage the main board can read. The factory solders most parts on. 2 boards: one to use and one spare. | Updated. v1's board was missing a ground connection, which made readings unreliable; the v2 design fixes it. Same size, priced at what v1 paid. | JLCPCB | custom (v2 preamp design) | 2 | 30.17 | 60.34 | Open
Spare bare preamp boards | The factory makes at least 5 boards. 2 come assembled (above), and these 3 come bare at a small extra cost. | Same as v1. | JLCPCB | custom | 3 | 0.8 | 2.4 | Open
Resistor | Sets how strongly the preamp amplifies. Soldered on by hand. 1 plus 1 spare. | Changed. 1 billion ohms instead of v1's 100 million gives a 10 times stronger signal. Recommended by Baird Bankovic, a Cornell graduate student who advises the project. | DigiKey | Ohmite SM104031007FE | 2 | 5.73 | 11.46 | Open
Insulated post | A small Teflon post where the tip wire joins the preamp, so no stray current leaks in. 1 plus 1 spare. | Same as v1. | DigiKey | Keystone 11301 | 2 | 2.09 | 4.18 | Open
Copper tape | Sticky copper foil wrapped around the preamp box. It blocks electrical noise from reaching the tiny tip current. | Same kind as v1. Listed here because general labs rarely stock it. | Amazon | Kirecoo copper foil tape, 2 in x 33 ft | 1 | 7.99 | 7.99 | Open
Subtotal | [6 empty] | 86.37
5. Sample plate and frame
3D printer plastic | 1 kg spool of carbon-fiber reinforced plastic for printing the head, sample plate and frame. | Changed. Stiffer than v1's nylon, and cheaper. | SUNLU | PETG-CF, 1 kg | 1 | 19.99 | 19.99 | Open
Steel balls | Hardened steel balls (4.6 mm, pack of 100) that give the three screw tips hard, fixed resting points. | New. Make the sample plate sit in exactly the same place every time. | Amazon | uxcell 0.18 in, 100 pcs | 1 | 9.99 | 9.99 | Open
Sample discs | Pack of 50 small steel discs (12 mm). The graphite sample is glued to one, and a magnet holds it on the plate. | New. A magnet replaces v1's springs and rubber bands, which let the sample move. | Ted Pella | 16208, pack of 50 | 1 | 30 | 30 | Open
Magnets | Small, strong magnets set into the sample plate. They hold the steel sample disc firmly in place. | Same kind as v1. Listed here because general labs rarely stock them. | Amazon | TRYMAG small neodymium magnets | 1 | 9.49 | 9.49 | Open
Vibration pads | Pads of vibration-absorbing rubber under the microscope that soak up building vibration. Estimate: this size's price was not shown online. | New. Replace v1's platform hung on springs. | Isolate It | Sorbothane 6x6 in, 2-pack | 1 | 35 | 35 | Open
Subtotal | [6 empty] | 104.47
6. Sensors
Temperature sensors | Measure temperature at the head and the preamp. 2 sensors. | New. Show whether the image slowly drifting is caused by temperature changes. | Adafruit | 4821 (TMP117) | 2 | 11.5 | 23 | Open
Subtotal | [6 empty] | 23
7. Power (batteries, no wall power)
9 V batteries | One full set is 8 batteries: 6 for the main board (3 stacked on each side to make about 27 V, which the board steadies to 15 V) and 2 for the preamp. Two 12-packs give three full sets. | New. v1 ran from a plug-in bench power supply. Batteries keep electrical noise from the wall out of the tiny tip current (Baird Bankovic's advice). Any 9 V alkaline works. | Battery Junction | Energizer Industrial EN22, 12-pack | 2 | 21.39 | 42.78 | Open
9 V battery clips | Snap onto the 9 V batteries and connect them with wire. 8 plus 2 spares. | New. Goes with the batteries. | DigiKey | Keystone 232 | 10 | 0.61 | 6.1 | Open
AA batteries | 8 AA batteries in a row make the 12 V the motor needs. The 24-pack gives three sets. | New. Replaces the bench power supply for the motor. | Battery Junction | Energizer Industrial EN91, 24-pack | 1 | 10.95 | 10.95 | Open
AA battery holder | Holds 8 AA batteries and connects them to the motor controller. 1 plus 1 spare. | New. Goes with the AA batteries. | Adafruit | 449 | 2 | 2.95 | 5.9 | Open
Subtotal | [6 empty] | 65.73
All parts in sections 1 to 7 | [6 empty] | 849.66
Shipping | For sections 1 to 7. Estimates by seller: JLCPCB $25.00, Thorlabs $15.26, Ted Pella $15.00, Adafruit $10.00, Isolate It $10.00, Battery Junction $10.00, DigiKey $8.49, SparkFun $8.00, SUNLU $5.00. Amazon items ship free. Standard (not express) shipping everywhere, and the small electronic parts ship in the same box as the circuit boards. | [5 empty] | 106.75
Import tariff on circuit boards | The US charges a 35% import tariff on circuit boards and parts from China. Applied to the $487.06 of boards and parts from JLCPCB and LCSC. Cannot be avoided by changing shipping; only US-made boards would avoid it, and those cost more. | [5 empty] | 170.47
Other import fees | The small tariff charge DigiKey adds to imported chips (about 8%). | [5 empty] | 4.66
Shipping and import fees, total | [6 empty] | 281.88
UCSD purchasing may have its own shipping accounts or negotiated rates with these sellers, which could lower this. Not counted here.
8. Optional: piezo tube upgrade. Choose Yes or No in the switch below
Prof. Vasquez suggested replacing the flat piezo disc with a piezo tube, which should scan more steadily. Our piezo study agrees, but recommends first fixing the sample mounting and checking temperature drift, because those cause most of v1's unsteadiness. The microscope works without this section. Choose Yes or No in the switch to add it to or remove it from the total.
Include the piezo tube upgrade? | [6 empty] | Switch: |  | Yes
Item | What it does | New in v2? Why | Vendor | Part number | Qty | Price each | Total | Link | Include?
Piezo tube
Piezo tube | A ceramic tube that bends and stretches very slightly when voltage is applied. It moves the tip across the sample and up and down, in steps smaller than an atom. | Replaces the piezo disc in section 1. Prof. Vasquez suggested a tube for steadier scanning. | PiezoDrive | TB3006-N | 1 | 131 | 131 | Open
Mount and wiring
Ceramic mounting block | A small block of machinable ceramic that the tube is glued to. It holds the tube rigidly and insulates it electrically. Estimate; it needs a few holes drilled. If drilling is not possible, an aluminium block with an insulating epoxy layer is the fallback. | New. Needed to mount the tube. | Amazon | Macor rod or plate offcut | 1 | 35 | 35 | Open
Structural epoxy | Strong glue that bonds the tube to its mounting block. Estimate. | New. v1's parts were held with superglue, which gives off fumes that contaminate the electronics. | Amazon | Loctite EA E-30CL or similar | 1 | 15 | 15 | Open
Conductive silver epoxy | Glue that conducts electricity. It attaches the wires to the tube's contacts without soldering heat, which can damage the tube. Estimate. | New. Needed to wire the tube. | Amazon | CW2400 or similar | 1 | 25 | 25 | Open
Tip holder tubing | Short pieces of thin stainless steel tube that grip the scanning tip at the end of the piezo tube. Estimate. | New. Replaces v1's glued tip holder. | Amazon | stainless hypodermic tubing, about 23 gauge | 1 | 10 | 10 | Open
Thin shielded tip cable | Very thin (about 1 mm) shielded cable that carries the tiny tip current to the preamp. 1 m. Estimate. | New. The tip now moves with the tube, so its cable must be thin and flexible. | Amazon | micro-coax, about 1 mm, 1 m | 1 | 10 | 10 | Open
High-voltage box | Metal box that holds the high-voltage driver board (below), keeping the 45 V away from fingers and blocking electrical noise. Estimate. | New. The driver sits in its own box, between the main board and the microscope. | Amazon | diecast aluminium, about 112 x 60 x 31 mm | 1 | 12 | 12 | Open
9-pin connectors | Plugs and sockets that connect the high-voltage box to the main board and to the microscope head. Estimate. | New. Goes with the high-voltage box. | Amazon | DB9 plug and socket with covers | 2 | 3 | 6 | Open
High-voltage cable | Shielded cable with 5 wires, rated for at least 100 V, from the high-voltage box to the microscope head. 1 m. Estimate. | New. Carries the 45 V signals to the tube. | Amazon | 5-core shielded cable, 1 m | 1 | 8 | 8 | Open
Test capacitors | Small capacitors that stand in for the tube when the high-voltage box is first tested, so a wiring mistake cannot crack the tube. 4 plus 4 spares. Estimate. | New. Protects the tube during testing. | Amazon | 2.2 nF 100 V film | 8 | 0.5 | 4 | Open
Threaded inserts and screws | Small metal inserts melted into the printed plate, with screws, to fix the mounting block to the head. Estimate. | New. Needed to mount the tube. | Amazon | M3 heat-set inserts and screws | 1 | 5 | 5 | Open
High-voltage driver (powers the tube)
Amplifier chips | The tube has 4 outer electrical contacts that move it; the inner one is simply connected to ground. Each outer contact needs its own amplifier chip to raise the control signal to about 45 V. 4 chips plus 1 spare. Powered by the extra batteries below. | New. The tube needs far more voltage than the main board can supply. | LCSC | OPA454 | 5 | 6.725 | 33.625 | Open
Small electronic parts | Resistors, capacitors, connectors and heat sinks for the high-voltage board. Estimate, capped at $40; listed exactly once the circuit is drawn. | New. Part of the high-voltage driver. | LCSC | to be listed | 1 | 40 | 40 | Open
Circuit boards for the driver | Blank boards for the high-voltage circuit, made by the same factory as the other boards. The factory's smallest order is 5. | New. Part of the high-voltage driver. | JLCPCB | custom | 5 | 2 | 10 | Open
Extra batteries for the high-voltage driver
Extra 9 V batteries | 10 more batteries for the high-voltage driver (5 stacked on each side to make about 45 V). One 12-pack, which with section 7 gives two full sets. | New. The high-voltage driver runs on batteries like the rest of the microscope. | Battery Junction | Energizer Industrial EN22, 12-pack | 1 | 21.39 | 21.39 | Open
Extra 9 V battery clips | For the 10 extra batteries. | New. Goes with the batteries. | DigiKey | Keystone 232 | 10 | 0.61 | 6.1 | Open
Optional extras: choose Yes in the last column to include
Spare piezo tube | A second tube in the same shipment. Tubes can crack while being glued and wired, and a replacement takes 2 to 4 weeks to arrive from Australia. | New. Recommended by the piezo study. | PiezoDrive | TB3006-N | 1 | 131 | 0 | Open | No
Metal head plate | An aluminium plate, cut by a laser or waterjet service and drilled, that holds the tube more rigidly than a printed plate. Needs machining, which the rest of v2 avoids. Estimate; needs a quote. | New. Metal holds its shape better than printed plastic as the room warms and cools. | SendCutSend or similar | aluminium blank, cut and drilled | 1 | 40 | 0 | Open | No
Upgrade parts | [6 empty] | 372.115
Shipping and import fees for the upgrade
Shipping | The piezo tube ships by courier from Australia (seller's estimate). The other upgrade parts ride in the same boxes as sections 1 to 7. | [5 empty] | 60
Import tariff on circuit boards | 35% on the driver's chips, parts and boards from LCSC and JLCPCB. | [5 empty] | 29.27
Other import fees | About 10% import duty on the tube (and the spare, if chosen), the courier's customs fee (the seller says $30 to $100; $65 used), and DigiKey's 8% tariff charge. | [5 empty] | 78.59
Upgrade shipping and fees | [6 empty] | 167.86
Upgrade, counted in the total | Parts plus shipping and fees, before tax and spare money. Zero when the switch is No. | [5 empty] | 539.975
9. Things UCSD may already have: choose Yes in the last column if UCSD will provide it, and it comes off the total
Item | What it does | New in v2? Why | Vendor | Part number | Qty | Price each | Total | Link | Free from UCSD?
Scanning tips | 10 ready-made platinum-iridium tips. The tip is the needle that scans the sample. Platinum-iridium does not rust in air, so the tip stays sharp. | Changed. v1 used tungsten wire, which corrodes in air. | Bruker | DPT10 | 1 | 277.2 | 277.2 | Open
Graphite test sample | Very flat graphite (called HOPG), the standard sample for seeing individual atoms. 10 x 10 mm. | New. v1 tested on gold leaf, which is too rough to show atoms. | NanoAndMore | HOPG ZYH | 1 | 77 | 77 | Open
Silver glue | Glue that conducts electricity. It fixes the graphite sample to its disc so current can flow through it. | New. Goes with the graphite sample. | MG Chemicals | 8331D-14G | 1 | 133.13 | 133.13 | Open
Heavy stone base | Granite slab, 9 x 12 in, that the microscope sits on. The weight steadies it against vibration. | New. Extra protection against vibration. | Penn Tool Co | Grizzly G9649 | 1 | 75.15 | 75.15 | Open
Oscilloscope | Test instrument for checking the boards and signals. | Same kind of item as v1. v2 is a separate instrument, so nothing is taken from v1. | Amazon | FNIRSI DST-201 | 1 | 57.99 | 57.99 | Open
LCR meter | A handheld meter that measures capacitance. Used to check each of the tube's contacts before and after wiring. Only needed with the piezo tube upgrade (section 8), so it is not counted when the switch is No. Estimate. | New. Confirms the tube was not damaged during assembly. | Amazon | handheld LCR meter, 1 kHz | 1 | 40 | 40 | Open
Interferometer parts | A small laser, a beam splitter, two mirrors and a light sensor. Together they measure exactly how far the scanner moves per volt, which calibrates the images. Estimate. | New. Calibrates the scanner. | Amazon | laser diode, beamsplitter cube, 2 mirrors, photodiode, mounts | 1 | 60 | 60 | Open
Soldering iron | For soldering parts onto the boards. | Same kind of item as v1. v2 is a separate instrument, so nothing is taken from v1. | PINE64 | Pinecil V2 | 1 | 25.99 | 25.99 | Open
Solder and flux | Solder paste and flux for the hand-soldered parts. Price is what v1 paid. | Same kind of item as v1. v2 is a separate instrument, so nothing is taken from v1. | Amazon | as bought for v1 | 1 | 24.97 | 24.97 | Open
Heat-shrink | Plastic sleeves that shrink with heat to insulate wire joints. Price is what v1 paid. | Same kind of item as v1. v2 is a separate instrument, so nothing is taken from v1. | Amazon | as bought for v1 | 1 | 11.99 | 11.99 | Open
Wire | Jumper wire, very thin wire for the piezo, and shielded wire for the tip. Price is what v1 paid. | Same kind of item as v1. v2 is a separate instrument, so nothing is taken from v1. | Amazon | as bought for v1 | 1 | 25.26 | 25.26 | Open
Cables | Ribbon cable to the microcontroller, two 9-pin cables to the scan head, and a USB cable. Price is what v1 paid. | Same kind of item as v1. v2 is a separate instrument, so nothing is taken from v1. | Amazon | as bought for v1 | 1 | 32.12 | 32.12 | Open
Connectors | Pin headers and chip sockets for the boards. Price is what v1 paid. | Same kind of item as v1. v2 is a separate instrument, so nothing is taken from v1. | Amazon | as bought for v1 | 1 | 16.98 | 16.98 | Open
Screws | Small screws for the 3D-printed parts. Price is what v1 paid. | Same kind of item as v1. v2 is a separate instrument, so nothing is taken from v1. | Amazon | as bought for v1 | 1 | 22.31 | 22.31 | Open
Tweezers, wrist strap and wipes | Tweezers for small parts, an anti-static wrist strap that protects the chips, and lint-free wipes. Price is what v1 paid. | Same kind of item as v1. v2 is a separate instrument, so nothing is taken from v1. | Amazon | as bought for v1 | 1 | 12.17 | 12.17 | Open
Subtotal (items not marked Yes) | [6 empty] | 892.26
TOTAL
Parts | Sections 1 to 7, the upgrade parts if the switch is Yes, and section 9 items not marked Yes | [5 empty] | 2114.035
Shipping and import fees | [6 empty] | 449.74
Sales tax (7.75%) | [6 empty] | 163.84
Spare money for surprises (10%) | [6 empty] | 272.76
TOTAL REQUEST | [6 empty] | 3000.375
Room left under $2,000 | Negative means over budget | [5 empty] | -1000.375
The four cases side by side
Case |  | Parts | Shipping and fees | Sales tax | Spare money (10%) |  | Total
Without the upgrade, UCSD supplies nothing |  | 1701.92 | 281.88 | 131.9 | 211.57 |  | 2327.27
Without the upgrade, UCSD supplies everything in section 9 |  | 849.66 | 281.88 | 65.85 | 119.74 |  | 1317.13
With the upgrade, UCSD supplies nothing |  | 2114.035 | 449.74 | 163.84 | 272.76 |  | 3000.375
With the upgrade, UCSD supplies everything in section 9 |  | 1221.775 | 449.74 | 94.69 | 176.62 |  | 1942.825
Upgrade rows reflect the optional extras as currently chosen (spare tube and metal plate are No unless changed).